## Fillable TEMPLATE
SITE ID | LOCATIONAL IDENTIFIER | LEAD GOOSENECK CURRENTLY PRESENT? | CURRENT STREET SIDE SERVICE LINE MATERIAL | WAS STREET SIDE SERVICE LINE MATERIAL EVER PREVIOUSLY LEAD? | STREET SIDE SERVICE LINE SIZE | STREET SIDE SERVICE LINE INSTALL DATE | CURRENT PROPERTY SIDE SERVICE LINE MATERIAL | PROPERTY SIDE SERVICE LINE SIZE | PROPERTY SIDE SERVICE LINE INSTALL DATE | BUILDING TYPE | POINT-OF-ENTRY OR POINT-OF-USE TREATMENT PRESENT? | BUILDING PLUMBING MATERIAL 1 | BUILDING PLUMBING MATERIAL 2 | BUILDING PLUMBING MATERIAL INSTALL DATE | COMMENTS | BASIS OF STREET SIDE MATERIAL CLASSIFICATION | WAS STREET SIDE MATERIAL FIELD VERIFIED? | DATE OF STREET SIDE FIELD VERIFICATION, IF APPLICABLE | METHOD OF STREET SIDE FIELD VERIFICATION, IF APPLICABLE | BASIS OF PROPERTY SIDE MATERIAL CLASSIFICATION | WAS PROPERTY SIDE MATERIAL FIELD VERIFIED? | DATE OF PROPERTY SIDE FIELD VERIFICATION, IF APPLICABLE | METHOD OF PROPERTY SIDE FIELD VERIFICATION, IF APPLICABLE | NOTES ON BASIS OF MATERIAL CLASSIFICATION
| W7542 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7548 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7549 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7557 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7566 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7567 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7570 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7575 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7576 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7585 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7589 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7591 BRIAN DR |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| N5576 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5580 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5586 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5589 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5610 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5620 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5650 BROAD ST |  | CI-U | UNK |  |  | CI-U | [8 empty] | Diameter > 2 inches | Y |  |  | Diameter > 2 inches | Y
| N5650 BROAD ST |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5657 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5667 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5683 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5687 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5689 BROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5730 CYNTHIA LN |  | C | UNK |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5731 CYNTHIA LN |  | C | UNK |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5732 CYNTHIA LN |  | C | UNK |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5733 CYNTHIA LN |  | C | UNK |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7705 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7706 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7714 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7715 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7719 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7720 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7726 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7727 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7737 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7738 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7739 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7750 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7755 EAST AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5821 EAST CHERRY CT |  | C | N |  |  | P | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5829 EAST CHERRY CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5835 EAST CHERRY CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5836 EAST CHERRY CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N7561 EAST MAPLE CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7540 EAST MAPLE CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7548 EAST MAPLE CT |  | C | N |  |  | P | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7570 EAST MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7576 EAST MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7584 EAST MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7585 EAST MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7769 EAST ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7773 EAST ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7776 EAST ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7783 EAST ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Water sampling only | Y
| W7796 EAST ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7526 ELM CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7535 ELM CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7536 ELM CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7537 ELM CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7539 ELM CT |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7540 ELM CT |  | C | N |  |  | P | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7680 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7692 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7693 ELM ST |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7748 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7751 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7752 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7759 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7760 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7768 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7772 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7775 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7776 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7781 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7782 ELM ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5685 ISLAND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5689 ISLAND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| N5690 ISLAND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5691 ISLAND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| N5695 ISLAND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5696 ISLAND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5699 ISLAND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| N5661 LA CROIX ST |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| N5663 LA CROIX ST |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| N5667 LA CROIX ST |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| N5675 LA CROIX ST |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| N5679 LA CROIX ST |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| N5684 LAKE PARK ST |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| N5684 LAKE PARK ST |  | C | N |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7715 MAPLE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7721 MAPLE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7726 MAPLE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7728 MAPLE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| N5681 MARTIN ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7637 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7643 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7655 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7662 OAK ST |  | C | UNK |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7667 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7668 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7679 OAK ST |  | C | UNK |  |  | C | [8 empty] | Water sampling only | Y |  |  | Water sampling only | Y
| W7680 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7687 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7697 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7706 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7707 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7710 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7716 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7717 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7728 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7738 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7744 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7750 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7753 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7759 OAK ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7455 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7461 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7473 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7475 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7481 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7483 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7483 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7491 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7499 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7540 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7544 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7545 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7551 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7557 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7562 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7563 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7565 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7571 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7574 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7579 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7588 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7589 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Water sampling only | Y |  |  | Water sampling only | Y
| W7596 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7597 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7615 PARK AVE |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5654 PARKVIEW WAY |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| N5664 PARKVIEW WAY |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| N5668 PARKVIEW WAY |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7663 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7669 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7670 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7677 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7678 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7704 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7713 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7718 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7724 PINE ST |  | C | UNK |  |  | C | [8 empty] | Water sampling only | Y |  |  | Water sampling only | Y
| W7739 PINE ST |  | C | UNK |  |  | C | [8 empty] | Water sampling only | Y |  |  | Water sampling only | Y
| W7740 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7746 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7747 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7751 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7753 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7704 1/2 PINE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7703 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7704 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7705 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7706 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7712 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7713 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7715 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7721 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7723 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7731 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7739 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7747 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7748 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W7760 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7761 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7765 RAILROAD ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5575 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5580 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5583 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Water sampling only | Y |  |  | Water sampling only | Y
| N5591 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5597 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5614 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5665 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5668 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5679 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5680 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5703 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| N5705 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| W5706 SECOND ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7820 SMITH ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7824 SMITH ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7829 SMITH ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7841 SMITH ST |  | C | UNK |  |  | C | [8 empty] | Diameter > 2 inches | Y |  |  | Diameter > 2 inches | Y
| W7841 SMITH ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7841 SMITH ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7574 SOMMERS ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7580 SOMMERS ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7581 SOMMERS ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7589 SOMMERS ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7749 SPRUCE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7750 SPRUCE ST |  | C | UNK |  |  | C | [8 empty] | Water sampling only | Y |  |  | Water sampling only | Y
| W7755 SPRUCE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7760 SPRUCE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7768 SPRUCE ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5760 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5770 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5776 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5784 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5787 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5793 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5794 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5806 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5811 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5814 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5822 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5828 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5831 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5839 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5840 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5849 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5856 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5862 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5869 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5875 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5877 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5881 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Water sampling only | Y |  |  | Water sampling only | Y
| N5890 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5891 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5897 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5898 STATE RD 187 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7517 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7517 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7517 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7574 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7577 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7581 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7601 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7611 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7623 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7647 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Water sampling only | Y |  |  | Water sampling only | Y
| W7655 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7656 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7663 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7672 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7673 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7678 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7680 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7682 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7683 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7684 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7686 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7690 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7691 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7694 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7698 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7699 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7706 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7711 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7712 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7718 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7724 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7730 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7738 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7746 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7752 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7761 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7766 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7766 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7486/W7488 STATE RD 54 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5426 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5430 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5444 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5450 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5456 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5462 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5469 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5470 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5477 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5481 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5486 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5489 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5494 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Installed after lead ban | Y
| N5495 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5502 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5503 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5510 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5511 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5516 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5522 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5530 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5531 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5547 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5552 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5558 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5562 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5578 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5579 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5583 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5583 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5588 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5592 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5595 STATE RD 76 B |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5598 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5602 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5605 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5606 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5614 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5616 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5618 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5619 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5620 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5629 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5633 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5635 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5636 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5636 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5640 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5644 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5645 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5651 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5653 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5656 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5659 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5664 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5665 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5670 STATE RD 76 |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5595 A STATE RD 76 A |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7604 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7606 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7610 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7612 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7625 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7632 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7637 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7640 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7641 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7642 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7645 W. MAPLE CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5842 WEST CHERRY CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| N5843 WEST CHERRY CT |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7748 WEST ST |  | C | UNK |  |  | C | [8 empty] | Field inspection only | Y |  |  | Field inspection only | Y
| W7821 WEST ST |  | C | UNK |  |  | C | [8 empty] | Installed after lead ban | Y |  |  | Installed after lead ban | Y
| W7538 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7539 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7540 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7544 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7552 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7556 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7557 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7561 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7565 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7566 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7567 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7570 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7571 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7573 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7574 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7583 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7584 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7589 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7590 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
| W7594 WINDSONG CT |  | C | N |  |  | C | [8 empty] | Installation record | Y |  |  | Installed after lead ban | Y
Note on B1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections. Every connection must have a unique identifier.
Note on D1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.
Note on E1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.
Note on H1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.
Note on Q1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.
Note on U1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Required field for all service connections.

## Field Descriptions
Click here to open USEPA 2022 Guidance for Developing and Maintaining a Service Line Inventory
Note: Field names that are shadednavy are required for every service connection. Field names shaded blue are recommended, optional, or only required under certain conditions. See field descriptions for more information.
| Column | Description
A | SITE ID | PWS that do not wish to report site addresses to the department in column B can use this column to “link” their materials inventory table to a separate service address table for their own use. This column is optional, however, it strongly recommended that PWS enter the site ID for locations that are lead and copper monitoring sites in this column.
B | LOCATION IDENTIFIER | The location identifier can be the site address, however if there is more than one service connection at a given address, it must include additional detail. If the PWS does not wish to report addresses to the department it can be a block, intersection or landmark. This column is required per sub-subparagraph §141.84 (a)(8)(i) of the LCRR which requires that a location identifier be associated with each service line.
| Column | Description | Answer options |  | Answer Option Descriptions
C | GOOSENECK CURRENTLY PRESENT? | Is there a gooseneck, lead connector or pigtail present? PWS are required to track this information, if known. However, PWS are not required to conduct investigations to determine if a gooseneck is present. | Y | YES - WITH CERTAINTY
|  |  | N | NO - WITH CERTAINTY
|  |  | UNK | NOT KNOWN WITH CERTAINTY
D | CURRENT STREET SIDE SERVICE LINE MATERIAL | Service line pipe material, from the water main to curb stop. | L | CONFIRMED LEAD
|  |  | C | CONFIRMED COPPER
|  |  | G | CONFIRMED GALVANIZED
|  |  | P | CONFIRMED PLASTIC
|  |  | DI | CONFIRMED DUCTILE IRON
|  |  | CI-L | CONFIRMED LINED CAST IRON
|  |  | CI-U | CONFIRMED UNLINED CAST IRON
|  |  | UNK-LG | UNKNOWN - MAY CONTAIN LEAD OR GALVANIZED
|  |  | UNK-NOLG | UNKNOWN - DEFINITELY DOES NOT CONTAIN LEAD OR GALVANIZED
E | WAS STREET SIDE SERVICE LINE MATERIAL EVER PREVIOUSLY LEAD? | Was the service line ever previously lead? | Y | YES – SERVICE LINE WAS PREVIOUSLY LEAD
|  |  | N | NO – KNOWS WITH CERTAINTY THAT SERVICE LINE MATERIAL WAS NEVER PREVIOUSLY LEAD
|  |  | UNK | NOT KNOWN WITH CERTAINTY IF MATERIAL WAS EVER PREVIOUSLY LEAD
| Column | Description
F | STREET SIDE SERVICE LINE SIZE | Service line pipe diameter in inches, from the water main to curb stop. This information is useful as a screening tool as most lead service lines are 2 inches or less in diameter. Furthermore, PWSs are required to report service line size to the PSC for their annual report. This column may also be used by PWS that wish to track information required by both agencies in a single document. Column F is optional.
G | STREET SIDE SERVICE LINE INSTALL DATE | The four-digit year that the utility-side service was installed (i.e. 1974). If the exact year is not known, enter the decade (i.e. enter 1970 for any year in the 1970s) Althought this information is not required, it can be used as a screening tool to determine if the service line was installed before or after the lead ban (1986). Column G is optional.
H | CURRENT PROPERTY SIDE SERVICE LINE MATERIAL | Service line pipe material, from the curb stop to water meter. See Row D for answer options.
I | PROPERTY SIDE SERVICE LINE SIZE1 | Service line pipe diameter, in inches, from the curb stop to water meter. This information is useful as a screening tool as most lead service lines are 2 inches or less in diameter. Furthermore, PWS are required to report service line size to the PSC for their annual report. This column may also be used by PWS that wish to track information required by both agencies in a single document. Column I is optional.
J | PROPERTY SIDE SERVICE LINE INSTALL DATE | If the exact year is not known, enter the decade (i.e. enter 1970 for any year in in the 1970s). This information it can be used as a screening tool to determine if the service line was installed before or after the lead ban (1986). Column J is optional.
| Column | Description | Answer options |  | Answer Option Descriptions
K | BUILDING TYPE | The type of structure that is served water by the service connection. At a minimum, the PWS must identify the connection either SF, MF or NONRES. | SF | SINGLE-FAMILY RESIDENTIAL
|  |  | MF | MULTI-FAMILY RESIDENTIAL
|  |  | SCH/CC | SCHOOL OR CHILD CARE
This category may be used by the PWSs to track locations that must be monitored under §141.92.
|  |  | RES/CC | RESIDENTIAL & IN-HOME CHILD CARE
This category may be used by the PWSs to track locations that must be monitored under §141.92.
|  |  | NONRES | NONRESIDENTIAL ONLY, NO SCHOOL OR CHILD CARE.
|  |  | MIX | MIXED RESIDENTIAL & NONRESIDENTIAL, NO SCHOOL OR CHILD CARE.
|  |  | O | OTHER
L | POINT-OF-ENTRY OR POINT-OF-USE TREATMENT PRESENT? | Is the cold-water kitchen tap treated by point-of-entry or point-of-use softening, filter or other treatment? Column L is optional. | Y | YES - the sample tap is treated by a point of use or point of entry softener or filter
|  |  | N | NO - the sample tap is not treated by a point of use or point of entry softener or filter
|  |  | UNK | Presence or absence of POU and POE is UNKNOWN
M | BUILDING PLUMBING MATERIAL 1 | The type of plumbing materials inside the structure that water is deliver to. If there is more than one known plumbing material type, select the second material type in column N. Columns M and N are optional. | CLS | Copper with lead solder
|  |  | C | Copper, no lead solder
N | BUILDING PLUMBING MATERIAL 2 |  | O | Other material that is not copper, or copper with lead solder
|  |  | UNK | Unknown
| Column | Description
O | BUILDING PLUMBING MATERIAL INSTALL DATE | The four-digit year that the interior premise plumbing was installed. If the exact year is not known, you may enter the decade if the decade is not the 1980s. If the decade is the 1980s, you may enter one of the following: 1983-1984, <1983 or >1984. Column O is optional.
P | COMMENTS | Use this column information to enter any other information that the PWS finds helpful to them or any information they wish to share with the department. Column P is optional.
| Column | Description | Answer options |  | Answer Option Descriptions (Chapter 4 of EPA inventory guidance )
Q | BASIS OF STREET SIDE MATERIAL CLASSIFICATION | Use the drop-down menu to select the method used for materials classification. If the method you used is not one of the options, select other and describe the basis for classification in Column Y- Notes on materials classification. | Previous eval |  | Previous Materials Evaluation
|  |  | Installation record |  | Installation record (e.g., tap card)
|  |  | Installed after lead ban |  | Installation date after lead ban (1986)
|  |  | Diameter > 2 inches |  | Service line diameter is > 2 inches
|  |  | SL repair/replace record |  | Service line repair or replacement record
|  |  | Water sampling only |  | Water sampling only with no records
|  |  | Field inspection only |  | Field inspection only with no records
|  |  | Other - describe in notes |  | Other - if other is selected describe the basis for material classification in the Notes Column Y.
| Column | Description
R | WAS STREET SIDE MATERIAL FIELD VERIFIED? | Was the street side material field verified? Select "Y" for "Yes" or "N" for "No".
S | DATE OF STREET SIDE FIELD VERIFICATION, IF APPLICABLE | If you selected "Yes" in column R, enter the date (DD/MM/YYYY) or four-digit year that the material was field verified. This field is only required if "Yes" was selected in Column R.
| Column | Description | Answer options |  | Answer Option Descriptions (Chapter 5 of EPA inventory guidance)
T | METHOD OF STREET SIDE FIELD VERIFICATION, IF APPLICABLE | If PWS selected "Yes" in column R, select the method used for field verification. If the method you used is not one of the options, select other and describe the basis for classification in Column Y. This field is only required if "Yes" was selected in Column R. | Customer self id |  | Customer self-identification
|  |  | CCTV - internal |  | CCTV investigation at curb stop - internal
|  |  | CCTV - external |  | CCTV investigation at curb stop - external
|  |  | Mech excav |  | Mechanical excavation at one location
|  |  | Visual insp at meter |  | Visual inspection at the meter pit
|  |  | Visual insp during install or repair |  | Visual inspection during construction or repair
|  |  | Cross connection survey |  | Cross Connection survey
|  |  | Other |  | Other - describe in Notes Column Y
| Column | Description
U | BASIS OF PROPERTY SIDE MATERIAL CLASSIFICATION | Use the drop-down menu to select the method used for materials classification. If the method you used is not one of the options, select other and describe the basis for classification in Column Y. See Column Q for a description of and an explanation of answer options.
V | WAS PROPERTY SIDE MATERIAL FIELD VERIFIED? | Was the street side material field verified? Select "Y" for "Yes" or "N" for "No".
W | DATE OF PROPERTY SIDE FIELD VERIFICATION, IF APPLICABLE | If PWS selected "Yes" in column R, select the method used for field verification. If the method you used is not one of the options, select other and describe the basis for classification in Column Y. This field is only required if "Yes" was selected in Column V.
X | METHOD OF PROPERTY SIDE FIELD VERIFICATION, IF APPLICABLE | If you selected "Yes" in column V, select the method used for field verification. See column T for an explanation of answer options. This field is only required if "Yes" was selected in Column V.
Y | NOTES MATERIAL CLASSIFICATION | If PWS selected "other" in Columns Q, T, U or X, describe the basis for classification or field verification here. This field is only required if "other" was selected in column Q, T, U and/or X.

## FAQs
Why do Public Water Systems (PWSs) need to provide this information?
Under Section §141.84 of the Lead and Copper Rule Revision (LCRR), all community Public Water Systems (PWS) “must develop an inventory to identify the materials of service lines connected to the public water distribution system. The inventory must include all service lines connected to the public water distribution system regardless of ownership status.”
What specifically does the LCRR materials inventory require (columns D, E and H)?
Subparagraph §141.84 (a) (4) of the LCRR states that “each service line, or portion of the service line where ownership is split, must be categorized” as belonging to one of the following groups: lead; non-lead; lead status unknown; or galvanized requiring replacement. The information provided in columns D, E and H of the materials spreadsheet will enable the department to correctly assign every service line or portion thereof to one of these four categories.
What is the Site ID (column A)? Is this required?
The PWS can use this column to identify the site ID of lead and copper monitoring sites. For all other locations, the site ID is optional. PWSs that do not wish to report site addresses to the department in column B may want to use this column to “link” their materials inventory table to a separate service address table for their own use.
What is a locational identifier (column B)?
Sub-subparagraph §141.84 (a)(8)(i) of the LCRR requires a location identifier associated with each service line. The locational identifier can be the site address, or it can be a block, intersection or landmark.
The LCRR defines some categories of materials, such as ‘lead status’ and ‘galvanized downstream of lead’ differently in different sections of the rule. Thus, the spreadsheet is intended to be a simple and easy way for municipal PWSs to collect and report the information required now and in the future. The DNR will use the materials inventory data collected by the water system to categorize each of their service connections appropriately under each section of the LCRR.
Gooseneck, pigtail or lead connector present? (Column C)
Building Type (Column K)
Point-of-Use or Point-of-Entry Treatment Present? (Column L)
Building plumbing materials and plumbing install date (Columns M, N and O)
Property side service line material (Column H)
Property side service line size (Column I)
Property side service line install date (Column J)
Current street side service line material (Column D)
Was street side service line ever previously lead? (Column E)
Street side service line size (Column F)
Street side service line install date (Column G)
Materials Inventory Template For Drinking Water Systems Under The Lead And Copper Rule Revisions
Why do PWSs need to indicate whether a gooseneck is present (column C)?
Paragraph §141.86 (a) of the LCRR directs every public water system to “identify a pool of targeted sampling sites based on the service line inventory.” However, the materials information needed to categorize service lines in accordance with §141.84 alone is insufficient to identify these targeted sampling sites. Specifically, as per LCRR sub-paragraph §141.86 (a) (5), Tier 3 sampling sites include both single-family structures served by galvanized lines located downstream of a lead service line (i.e. confirmed galvanized requiring replacement) or downstream of a lead gooseneck, pigtail or connector.
Why do PWSs need to indicate whether a service line that is not currently lead was ever previously lead (column E)?
The materials history of the upstream utility service line is needed to correctly categorize customer-side galvanized service lines as either non-lead or galvanized requiring replacement under the LCRR. Sub-subparagraph §141.84 (a)(4)(ii) of the LCRR requires that public water systems identify locations where a galvanized service line “is or was at any time downstream of a lead service line” or “lead status unknown” service line as “galvanized requiring replacement”. If a water system knows with certainty that the utility side of a service line is not now, and never has previously been lead, then the downstream customer-side galvanized service line is identified as “non-lead”. If a PWS does not know this with certainty, the material is categorized as “galvanized requiring replacement.” However, as per paragraph §141.86 (a), galvanized service lines currently or formerly downstream of a lead gooseneck, pigtail, or connector are not identified as galvanized requiring replacement.
Are PWSs required to track the interior premise plumbing materials and install date at every service location in their system (columns M, N and O)?
This information is only required for service locations that are potential compliance sampling sites. If the PWS has at least as many Tier 1, Tier 2 and/or Tier 3 sampling sites as their required number of monitoring sites, then they are not required to track this information at this time. However, the PWS will be required to collect this information in the future, once all of their lead service lines and galvanized lines requiring replacement are removed. It is recommended that PWS collect this information on an ongoing basis whenever they are inside structures, as part of their normal operations.
Are PWSs required to track whether there is a point-of-entry (POE) or point-of-use (POU) treatment device at every service location (column L)?
This information is only required for service connections that are potential monitoring sites. Sub-paragraph §141.86 (1) of the LCRR states that “Sampling sites may not include sites with installed point-of-entry (POE) treatment devices and taps used at sampling sites may not have point-of-use (POU) devices designed to remove inorganic contaminants…” However, the department recommends that PWSs collect this information concurrently with premise plumbing materials at a given residence, so that PWSs don”t need to revisit residences that become potential monitoring sites once their lead and galvanized lines are removed.
Are PWSs required to use the DNR template?
No, PWSs are not required to use the DNR template for their materials inventory. However, PWSs that track their drinking water distribution system materials using a different method should provide all of the information requested in the template.
Do Municipal PWSs have to report this information to the DNR and PSC both?
Due to differences in the frequency and timing of reporting and the type of information reported, municipal public water systems will continue to report service line information annually to the Public Service Commission (W-22 and W-29) for the foreseeable future. However, the DNR and PSC are in discussions about how they can collaborate to minimize the amount of similar reporting to multiple agencies after the LCRR compliance date.
Materials Inventory Template For Drinking Water Systems Under The Lead And Copper Rule Revisions

## ANSWER LIST (hidden)
[7 empty] | Previous eval | Customer self id
Y | B | SF | L | L | 3/8" | Y | Installation record | CCTV - internal
N | K | MF | C | C | 1/2" | N | Installed after lead ban | CCTV - external
| A | SCH/DC | G | CLS | 5/8" | UNK | Diameter > 2 inches | Mech excav
|  | RES/CC | P | O | 3/4" |  | SL repair/replace record | Visual insp at meter
|  | NONRES | DI | UNK | 1" |  | Water sampling only | Visual insp during install or repair
|  | MIX | CI-L |  | 1 1/4" |  | Field inspection only | Cross-connection survey
|  | OTH | CI-U |  | 1 1/2" |  | Other - describe in notes | Other - describe in notes
|  |  | UNK-LG |  | 1 3/4"
|  |  | UNK-NOLG |  | 2"
3"
4"
6"
8"
10"
12"
14"
16"
OTH